System Specification

Convert requirements into technical specifications

The system specifications define the exact technical parameters needed for implementing the PLC-based automation system. These specifications ensure smooth operation, safety, and efficient process control.

1. Operating Voltage

- PLC operating voltage: 24V DC

- Proximity sensor voltage: 24V DC

- Relay module voltage: 24V DC

- Conveyor motor supply: 230V AC

- Push buttons: 24V DC input

- Control panel supply: Single-phase AC source

2. Response Time

- Sensor detection response: less than 10 ms

- PLC execution scan cycle: 5–20 ms

- Conveyor switching delay: 1–3 seconds

- Emergency stop response: instant (< 1 second)

- Overall system response: real-time operation

3. Memory Needs

- PLC program memory: 2 KB – 8 KB

- Timer and counter storage memory

- Input/output status memory

- Internal relay memory bits

- Sufficient memory for ladder logic sequence program

4. Communication Protocols

Since this project mainly uses direct wiring, communication can be simple. If advanced monitoring is added, the following can be used:

- UART – for serial communication with external devices

- SPI – for fast sensor interface

- I²C – for compact sensor communication

- CAN – for industrial control networking

- Ethernet / Modbus – for future industrial expansion

- RS-485 – for long-distance industrial communication

5. Control Specifications

- Sequential conveyor control

- Sensor-based object detection

- Timer-based delay operation

- Automatic stop after process completion

- Manual emergency shutdown

- Relay-based motor switching

6. Safety Specifications

- Emergency stop button

- Overload protection

- Short circuit protection

- Sensor fault detection

- Safe motor shutdown mechanism

7. Performance Specification

- High reliability

- Continuous industrial operation

- Accurate sensing

- Low maintenance

- Fast process execution

- Stable under industrial environment